## calib-report
Power View can only print one sheet at a time.
Please switch to the desired sheet and try again.

## calibration
eyelib-test-fixation |  | 2017-03-10T15:20:53
calibration point | aggregation | eye | calibrated x | calibrated y | estimated x | estimated y | accuracy (degrees) | mean error (pixels) | average std dev (pixels)
overall | overall | composite | 640 | 512 |  |  | 0.2493
overall | overall | left eye | 640 | 512 |  |  | 0.2752
overall | overall | right eye | 640 | 512 |  |  | 0.308
point 0 | calibration point | composite | 102 | 102 | 103.509 | 107.894 | 0.2048 | 6.0835 | 31.7142
point 1 | calibration point | composite | 640 | 512 | 636.31 | 523.836 | 0.4173 | 12.3981 | 28.8556
point 2 | calibration point | composite | 1178 | 512 | 1181.2 | 502.474 | 0.3504 | 10.411 | 29.9644
point 3 | calibration point | composite | 1178 | 102 | 1166.18 | 110.187 | 0.4568 | 13.5697 | 30.1796
point 4 | calibration point | composite | 102 | 512 | 101.793 | 504.625 | 0.2483 | 7.3774 | 32.7793
point 5 | calibration point | composite | 1178 | 922 | 1174.28 | 919.786 | 0.1003 | 2.9804 | 26.88
point 6 | calibration point | composite | 640 | 102 | 640.507 | 93.4681 | 0.2877 | 8.5469 | 34.1226
point 7 | calibration point | composite | 102 | 922 | 101.776 | 919.642 | 0.0463 | 1.3759 | 26.0767
point 8 | calibration point | composite | 640 | 922 | 642.131 | 924.297 | 0.1321 | 3.9255 | 25.8717
point 0 | calibration point | left eye | 102 | 102 |  |  | 0.2394 | 7.1122 | 35.144
point 1 | calibration point | left eye | 640 | 512 |  |  | 0.5009 | 14.8802 | 25.0233
point 2 | calibration point | left eye | 1178 | 512 |  |  | 0.4099 | 12.1767 | 23.7972
point 3 | calibration point | left eye | 1178 | 102 |  |  | 0.3075 | 9.1338 | 32.0554
point 4 | calibration point | left eye | 102 | 512 |  |  | 0.34 | 10.1019 | 34.2821
point 5 | calibration point | left eye | 1178 | 922 |  |  | 0.0771 | 2.2897 | 25.474
point 6 | calibration point | left eye | 640 | 102 |  |  | 0.4628 | 13.7498 | 33.3569
point 7 | calibration point | left eye | 102 | 922 |  |  | 0.0733 | 2.1768 | 23.9805
point 8 | calibration point | left eye | 640 | 922 |  |  | 0.0656 | 1.949 | 23.898
point 0 | calibration point | right eye | 102 | 102 |  |  | 0.1881 | 5.588 | 27.3858
point 1 | calibration point | right eye | 640 | 512 |  |  | 0.3481 | 10.3419 | 31.9335
point 2 | calibration point | right eye | 1178 | 512 |  |  | 0.4228 | 12.5606 | 34.3002
point 3 | calibration point | right eye | 1178 | 102 |  |  | 0.8126 | 24.143 | 27.7911
point 4 | calibration point | right eye | 102 | 512 |  |  | 0.2679 | 7.9593 | 31.109
point 5 | calibration point | right eye | 1178 | 922 |  |  | 0.2656 | 7.8912 | 27.6597
point 6 | calibration point | right eye | 640 | 102 |  |  | 0.1126 | 3.344 | 33.8239
point 7 | calibration point | right eye | 102 | 922 |  |  | 0.0984 | 2.9223 | 27.7536
point 8 | calibration point | right eye | 640 | 922 |  |  | 0.2559 | 7.6027 | 27.266